## Certificates SW WALES
SERVICE CHARGE EXPENDITURE REPORT
Period: | 1st Jan 2023 to 24th December 2023 (Planned costs are to 31st December 2023)
Property: | SA1 - General landscaping & other areas | X.D62.A7408000
|  |  | Annual | Monthly | Annual Total
Management
1 | Management Costs |  |  |  | 121718.7895
|  | Building Manager | 41723.7303 | 3476.9775
|  | Site Inspections | 0 | 0
|  | Building Inspections | 0 | 0
|  | Annex 1 Management | 70754.5937 | 5896.2161
|  | Annex 2 Overheads | 9240.4655 | 770.0388
2 | Helpdesk |  |  |  | 0
|  | Helpdesk | 0 | 0
3 | Specialist Surveys |  |  |  | 779.0407
|  | Biodiversity | 779.0407 | 64.9201
|  | Asbestos | 0 | 0
Utilities |  |  |  |  | 0
4 | Electricity |  | 0
5 | Gas |  | 0
6 | Fuel Oil |  | 0
7 | Water |  | 0
8 | IT Services |  | 0
|  | IT & Broadband Services | 0 | 0
Soft Services
9 | Security |  |  |  | 275.5179
|  | Security | 275.5179 | 22.9598
10 | Cleaning & Environmental |  |  |  | 117610.9957
|  | Cleaning Services | 0 | 0
|  | Window Cleaning | 0 | 0
|  | Waste Disposal | 117610.9957 | 9800.9163
|  | Water Risk Assessment | 0 | 0
11 | Reception |  |  |  | 0
|  | Reception | 0 | 0
12 | Pest Control |  |  |  | 353.8741
|  | Pest Control | 353.8741 | 29.4895
13 | Landscaping |  |  |  | 57498.2487
|  | Soft Landscaping | 57498.2487 | 4791.5207
Hard Services
14 | Mechanical & Electrical Maintenance |  |  |  | 26087.3124
|  | Mechanical Servicing | 3538.1258 | 294.8438
|  | Electrical Servicing | 22549.1866 | 1879.0989
|  | Fire Protection Maintenance | 0 | 0
|  | Fire Risk Assessment | 0 | 0
|  | Energy Management | 0 | 0
|  | Auto Doors/Shutters | 0 | 0
|  | Access Control/CCTV/Alarm Maintenance | 0 | 0
|  | Pumping Station | 0 | 0
|  | BMS | 0 | 0
15 | Mechanical & Electrical Inspections |  |  |  | 0
|  | Statutory Inspections | 0 | 0
|  | Insurance Inspection | 0 | 0
16 | Lift Maintenance |  |  |  | 0
|  | Lift Maintenance | 0 | 0
|  | LOLER Insurance | 0 | 0
Income
17 | Interest |  |  |  | 0
Insurance
18 | Engineering Insurance |  |  |  | 0
19 | All Risks Insurance Cover |  |  |  | 0
Exceptional Expenditure
20 | Reactive Works |  | 327278.29 |  | 327278.29
21 | Forward Funding |  |  |  | 0
Total |  |  | 651602.069 | 27026.9816 | 651602.069

## SA1 Reactive General 23-24
SA1 - General Reactive Works Period 25th December 2023 to 24th December 2024
Site Location | Works | Works Summary Desc. | Date Complete
Beacon Centre | Light repairs | Lights out on Langdon Road near Beacon Centre | 2024-11-19 08:02
Prince of Wales Dock path Norwegian Church - to Easten Gateway Road | Repair of loose slabs | Continue lifting loose slabs along Prince of Wales Dock path edge and replace with tarmac | 2024-03-28 09:44
Ice House Square | Repair of tarmac on footpath | Tarmac repair near Ice House as tarmac sinking. | 2024-02-22 12:36
Common Areas - SA1 Estate Wide | Light repairs | Lamps out after Oct 2023 street light survey. 1 x lamps Kings Road opposite J Shed and 2 x lamps side of J Shed near Diablos | 2024-03-05 08:51
Common Areas - SA1 Estate Wide | Cleaning | Remove graffiti from bins and feeder pillars around SA1 | 2024-11-04 11:50
Footpath, Norwegian Church | Repair of loose slabs | Slab works resetting around Norwegian Church path area and J Shed pink slabs | 2024-09-24 08:54
Langdon Road, Tesco | Cleaning | Jetting Road gully on Langdon Road outside Tesco is blocked. | 2024-07-19 08:27
Market Square | Repair of loose slabs | Re-bed loose slabs on Market Square on SA1 and re-bed using M60 mortar. | 2024-07-01 14:01
Footpath Kings Road and Footpath Norwegian Church | Repair of loose slabs | Slabs repairs around Ice House side of plot B3, Kings Road and near Norwegian Church, Langdon Road | 2024-07-17 08:26
Ice House Square and River Tawe Walkway rear of Techinum 1 | Repair of loose slabs | Slab repairs around Ice House Square and River Tawe path rear of Technium 1 | 2024-05-15 09:15
Common Areas - SA1 Estate Wide | Street light repairs | Street lights repairs around site main roads. | 2024-03-27 16:43
Common Areas - SA1 Estate Wide | Estate signage | New directional signage across estate | 2024-02-23 11:54
Langdon Road | Road repairs | Road surface repairs to potholes Langdon Road as requested | 2024-05-15 08:46
SA1 Gateway Enterance | Street light repairs | 5 x street lights on 24/7 SA1 Gateway Enterance . Photo cell has failed. New photo cell installed and lights back to normal operations. | 2024-01-19 12:34
Common Areas - SA1 Estate Wide | Traffic calming measures | Install Traffic Calming Measures Signs throughout SA1 Estate roads | 2024-05-08 16:12
Community Church, Langdon Road | Road surface repairs | Repair section of road side of Community Church on Langdon Road. | 2024-05-19 18:13
Langdon Road | Manhole repairs | lift manhole covers of the top of the manholes frames repairs on the raised tables on Langdon Road | 2024-04-05 14:56
Langdon Road | Road repairs | Repair smashed slabs on recces covers x 2 and slabs around cover on eastend Gateway of Langdon Road path. | 2024-03-13 08:18
Plot C4 Carpark, Kings Road | Fencing repairs | Secure heras panels on plot C4 car park entrance | 2024-01-29 09:31
Prince of Wales Dock path | Repair of loose slabs | Re-bed loose slabs around paths Prince of Wales Dock on SA1 Waterfront and removed cracked slabs and install new. | 2024-02-22 11:00
Lamberts Road | Repair of loose slabs | Lift cracked uneven slabs along footpath from Lamberts Road to Village Hotel. | 2024-02-22 11:13
Market Square | Street light repairs | 3 x PoWD footpath lamps are out. 2 of the lamps that are out are at bottom of Market Square. A spec for 3 x new TRT lights | 2024-01-19 09:24
River Tawe Walkway | Installation of fence | H&S - Supply 4 x heras fencing panels with feet weight bloks support braces and couplers. Installation of heras fencing at SA1 Waterfront across the River Tawe walkway | 2024-01-25 12:08
Langdon Road, Tesco | Repair footpath | Lift 2 x slabs and re-bed with M60 mortar. Lift and replace with new 4 x slabs this is on the Tesco path Langdon Road | 2024-06-25 10:17
Prince of Wales Dock and Tidal Basin Footpath | Street light repairs | Remove old lamps around Prince of Wales Dock & Tidal Basin x 7 and replace with new TRT lights. Re-adjust 1 x lamp on River Tawe path. | 2024-06-03 18:47
Pipers Walk footpath | Footpath repairs | Lift pink granite slabs on PipersWalk and install tarmac as slabs up against plastic aco drain are loose and moving. Also lift ribbed black slabs on aco drain edge near River Tawe steps and re-bed with M60 mortar. | 2024-06-05 16:36
Prince of Wales Dock foothpath, Norwegian Church | Footpath repairs | Emergency repair works to lift, re-bed, and replace loose paving slabs along the Prince of Wales path to the Norwegian Church corner | 2024-11-14 12:20
Common Areas - SA1 Estate Wide | Footpath repairs | Purchase Conservation Textured 600x900x50 Silver Grey slabs to be held in stock for future use on all common areas across site. | 2024-10-10 08:28
Common Areas - SA1 Estate Wide | Street light repairs | Repair of street light outages and follow-up night survey across estate to confirm operation under photocell control. | 2024-08-15 10:45
Langdon Road and Plot A9 Carpark | Street light installations | Install new photocell onto feeder pillar outside Beacon Centre on Langdon Road to operate the areas street lighting and car park A9 | 2024-07-01 13:21
Eastern Gateway Langdon Road | Traffic signage | Install 2 x posts and signs eastern end of Langdon Road so Traffic Calming signs can be installed | 2024-04-11 08:35
Plot A11, Langdon Road | Lighting repairs | Replace damaged flood light on left hand column plot A11. | 2024-05-08 09:11
Lamberts Road | Lighting installations | Install new lighting head & Commission Light on Lamberts Road. | 2024-03-27 17:10
Petrol interceptor, Prince of Wales Dock | Statutory Health and Safety - Petrol interceptor | Re-register the estate petrol interceptors with Natural Resources Wales to ensure pollution control within Prince of Wales Dock water is discharged without contamination | 2024-03-07 08:03
Carpark plot A9 | Surface installations | Install more stone chippings in stone areas of car park A9. | 2024-03-18 17:53
Prince of Wales Dock foothpath | Footpath repairs | 50 x more PoWD slabs lifted and voids filled with tarmac on 05 Jan 2024 | 2024-01-11 11:52
Plot A9 Carpark | Landscaping | Plot A9. Sweep all small stones off the tarmac area cut back all vegetation and litter pick the whole plot. | 2024-01-11 13:29
Techinum Square | Christmas lights | Install and removal of Christmas lights on Technium Square | 2024-01-10 12:26
Footpath River Tawe Walway | Estate signage | Install urgent Footpath closed signs x 6 for Kings Road to warn the Public of the path closed southern side of plot B3 River Tawe | 2024-12-02 11:21
A11 Carpark | Lighting installations | Install new flood light on column D4 in car park A11 | 2024-10-31 15:44
J Shed, Langdon Road | Road repairs | Install new D400 manhole frame and cover and make good side of J Shed on Langdon Road | 2024-10-16 11:27
Market Square | Street light repairs | New gears & new lamps in Market Square | 2024-10-18 13:43
Plot A9 Carpark | Street light repairs | Isolate power and disconnect cables to the 2 x lighting columns within plot A9 and also isolate and disconnect cable at the Langdon Road feeder pillar. | 2024-07-25 08:15
Kings Road, UWTSD | Bollard repairs | Remove damaged bollard Kings Road near UWTSD and install new. | 2024-10-16 11:14
Kings Road, UWTSD | Street light repairs | Remove hit & damaged street light column on Kings Road side of UWTSD and install a temp 6 x foot column with LED lamp | 2024-06-19 07:52
|  | Street light column only to side of UWTSD | 2024-06-03 18:32
Eastern Gateway Langdon Road | Street light and bollard repairs | Lamps out Link Road Langdon Road x 1 and traffic bollards damaged as result of accident | 2024-06-03 18:37
Prince of Wales Dock footpath | Footpath repairs | Lift and re-bed approx 30 x slabs on PoWD that met the metal aco drains around the Dock path | 2024-03-18 12:15
Prince of Wales Dock footh path repairs behind Emily Court | Footpath repairs | re-bed approx. 12 x slabs on PoWD path rear of Emily Court, Langdon Road | 2024-03-07 12:08
Easten Prince of Wales Dock Footpath | Site investigation works | Lift metal galvanised aco drain on south east section of Prince of Wales Dock path and take full measurements and photos of the metal aco drain. Once done make good whole area. | 2024-01-22 13:14
Tidal Basin, Kings Road foothpath | Street light repairs | Replacement new 8 x metre lighting column for Kings Road, Tidal Basin area. | 2024-05-22 15:59
Kings Road, UWTSD footpath | Street light repairs | Column top left Kings Road near old Griffiths compound has been hit. Remove damaged 8 x metre column and instal temp 6 x metre column galvanised with LED head. Remove 6 x metre columns when new 8 x metre column is installed | 2024-01-19 08:20
Lamberts Road | Footpath repairs | Cracked slabs around Lamberts Road repairs. Carry out various slab repairs | 2024-01-11 12:12
Pipers Walk footpath | Street light repairs | investigate why a series of 5x lamps out plot Pipers Walk | 2024-01-10 11:38
Plot A17 Carpark | Street light repairs | Install photocell on plot A17 feeder pillar. This will over-ride the photocell on PoWD lamp that controls power to flood lights on plot A17. | 2024-11-12 12:39
Common Areas - SA1 Estate Wide | Waste removal | Remove fly tipping across SA1 estate. | 2024-11-04 09:52
Sancta Maria Hospital, Lamberts Road | Site maintainance | Install 2 x stainless steel boards on grass verge opposite Sancta Maria Hospital to stop parking on the grass. | 2024-10-16 11:23
Common Areas - SA1 Estate Wide - Roads | Weather gritting | SA1 Road Gritting Feb 24 to March 24  3 Visits | 2024-04-17 08:44
Kings Road Pumping Station Pipers Walk | Footpath repairs | Lift and replace broken slabs approx 5 and tactile on Kings Road path near red barrier to pumping station | 2024-06-10 16:58
Footpath around Prince of Wales Dock | Site investigation works | Grays to produce a Topographical Survey along part of the footway on the Prince of Wales Dock in SA1 | 2024-06-19 10:08
Footpath around Prince of Wales Dock | Footpath repairs | Lift pink granite slabs on southern walkway of PoWD and install tarmac | 2024-06-09 15:58
Common Areas - SA1 Estate Wide - Roads | Weather gritting | Gritting Nov 23 to Jan 24 - 17 x Visits | 2024-02-02 10:08
Kings Road and Plot A9 Carpark | Site maintainance | Reposition a planter on Kings Road and straighten height barrier on plot A9 Carpark | 2024-01-30 09:15
Footpath around Prince of Wales Dock | Footpath repairs | Remove loose slabs along the Prince of Wales Dock foot path and fill the void with tarmac and compact | 2024-03-13 08:22
Common Areas - SA1 Estate Wide - Roads | Street lighting | Purchase 4 x LED flood lights as per Bell Lighting spec issued. These will be purchased and kept on site for emergency - site wide | 2024-02-12 20:43
Carparks SA1 | Management and maintainance of carparks | Move 2 x large concrete blocks from entrance of plot A17 and place safely into plot A9. When plot A9 is empty then return to site and place 2 x large concrete boulders at the entrance of plot A9 - site management | 2024-01-25 12:05
J Shed, Kings Road | Street lighting repairs | Remove damaged column & install temp 6 x metre column with LED head, Kings Road, J Shed. | 2024-11-07 15:41
River Tawe Walkway Ice House and Techinum 1 | Footpath repairs | Slab works on path side of Icehouse & Technium 1 | 2024-09-05 08:26
Eastern Gateway Langdon Road | Footpath repairs | Lift fallen slabs and place tarmac in their place, Eastern Gateway foothpath | 2024-03-06 16:30
Kings Road | Road repairs | Replace sunken slabs by manhole with tarmac, Kings Road | 2024-01-19 12:41
Kings Road | Street light repairs | Repair 4 x street lights & 4 x traffic bollard lights that are out, Kings Road | 2024-11-21 14:37
Market Square | Footpath repairs | 42 x slabs and rebeded - Market Square | 2024-08-19 17:35
Langdon Road, Beacon Centre and Techinum Square | Footpath repairs | Re-Bed pavers and channels in area of Beacon Centre and Technium Square | 2024-07-31 11:07
Prince of Wales Dock | Site security | 2 x padlocks for the old A Griffiths compound gate Prince of Wales Dock | 2024-05-22 11:09
Tidal Basin, Kings Road foothpath | Footpath repairs | Path adj to Tidal Basin just of the UWTSD boundary recess cover slab repairs | 2024-04-19 16:37
Prince of Wales Dock | Footpath repairs | Lift and re-bed slabs along Prince of Wales Dock path from Norwegian Church to J Shed corner and first bin | 2024-04-05 17:08
A17 Carpark | Street lighting | Tilt down the car park A17 flood lights - causing issues with passing vechiles and residents | 2024-04-24 10:26
Prince of Wales Dock to Kings Road section | Footpath repairs | Lift approx 50 x slabs or more within a days on Prince of Wales Dock path | 2024-01-26 08:15
River Tawe Walkway | Street furniture repairs | Repair works to the river Tawe walkway and handrailing north of the Sail Bridge. | 2024-08-31

## SA1 Reactive Waterfront 23-24
SA1 Waterfront Reactive Works Period 25th December 2023 to 24th December 2024
Work Location | Works | Works Summary Desc. | Date Complete
Prince of Wales Dock Waterfront | H&S site equipment maintainance and repairs | H&S check Prince of Wales Dock Walls - check all bolts of safety chains and repair | 2024-07-30 11:59
Prince of Wales Dock Waterfront - Norweigan Church | Railing repairs | Damaged Railings adjacent to Quest Appartments dock - temporary repair | 2024-05-16 11:35
Prince of Wales Dock Waterfront - Quest Apartments | Railing repairs | Remove damaged PoWD stainless steel rails that were damaged as a result of road traffic accident on 03 Feb 024 | 2024-03-04 14:35
River Tawe Walkway | Fencing repairs | H&S Make the erosion area - River Tawe heras fence stronger to Wind Force 11 spec - Fence repairs | 2024-11-14 10:17
River Tawe Walkway | Dock Wall repairs | Carryout remedial works to Prince of Wales Dock wall repairs River Tawe Walkway | 2024-05-16 09:15
Prince of Wales Dock Waterfront - J Shed | Poontoon repairs | Princeof Wales Dock pontoon bolts infront of J Shed were damaged and then replaced. A further investigation along the whole western pontoon is required | 2024-07-16 17:07
Prince of Wales Dock footpath and railings - Quest Apartments | H&S Accident Emergency Works | Road Traffic Accident - car in the Dock. Police in attendance. Make area temp safe of damaged dock edge area with barriers install | 2024-02-19 09:27
River Tawe Walkway, Techinum 1 | Fencing repairs | Replace 2 x heras panels and 1 x heras gate at the River Tawe erosion area, Techinum 1 due to vandals damaging them. | 2024-08-12 08:31
Prince of Wales Dock - All areas | Cleaning | Power wash the whole western pontoon on PoWD. Also power wash the ramp and remove any visible rust from upper ramp and touch up with white external metal paint | 2024-08-12 08:27
Tidal Basin Area | Dock Gate repairs | Lower and carryout maintenance of the penstock gate at the Tidal Basin | 2024-09-23 10:02
Prince of Wales Dock, J Shed | Poontoon repairs | Install 2 x new decking planks onto western pontoon, J Shed | 2024-09-24 09:02
Prince of Wales Dock - Marina Access Road | Security | Install new padlock on northern eastern gate to Prince of Wales Dock | 2024-06-10 11:01
Prince of Wales Dock Waterfront | H&S Lifebuoys | purchase and install x10 new Lifebuoy Toggle Latch Kits | 2024-05-30 10:32
Prince of Wales Dock Poontons | Poontoon repairs | Kaymac to attend Prince of Wales Dock and investigate why the 2 x central pontoons have come apart | 2024-11-21 09:49
River Tawe Walkway | Railings investigations and repairs | Carryout a H&S full inspection the stainless steel rails along plot A1 path River Tawe | 2024-10-28 13:02
Prince of Wales Dock | Railings and Benches repairs | Works to stainless steel areas of the sites gate rail and benches around Prince of Wales Dock on SA1 | 2024-08-23 10:02
Prince of Wales Dock Poontons | Cleaning - Pontoons | Cleaning - Power wash small pontoon within Prince of Wales Dock to get rid of any algae for H&S | 2024-06-30 16:28
Prince of Wales Dock | H&S - Promontory Ladder installations | Make / provide 1 x set of steps & 1 x ladder for safe access to Prince of Wales Dock area between promontorys for safe litter removal | 2024-04-18 14:18
Tidal Basin Area | Penstock Gate repairs | Replace damaged plastic cover over penstock gearing in dock | 2024-09-24 09:05

## General & Waterfront PPM 23-24
SA1 Waterfront and General Estate Planned Prevenative Maintenance 25th December 2023 - 24th December 2024
Service Charge | Work Location | Planned Maintenance Task | Date Completed
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-01-03 13:14
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-02-06 12:00
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-03-06 12:42
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-04-02 13:34
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-05-09 09:19
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-06-05 14:24
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-07-11 08:30
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-08-05 15:09
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-09-02
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-10-14
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-11-18
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-12-16
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-09-03 07:55
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-10-28 14:38
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-11-05 08:04
Waterfront | SA1 - Prince of Wales Dock | LIFEBUOY Lifebuoy inspection Each Week Every Month | 2024-12-02 16:48
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-01-10
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-02-13
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-03-13
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-04-08
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-05-14
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-06-17
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-07-04
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-08-12
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-09-11
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-10-14
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-11-15
General | SA1 - Common Areas - Main Roads Estate | Road Sweeping monthly | 2024-12-04
Waterfront | SA1 - Prince of Wales Dock | Interceptors x 8 annually | 2024-08-21
General | SA1 - Common Areas - Main Roads Estate | Road Gully x 450 Clean annually | 2024-01-16
Waterfront | SA1-Tidal Basin Prince of Wales Dock | Tidal Basin Penstock Gate Maint annually | 2024-09-04
Waterfront | SA1 - Prince of Wales Dock | 2 x Pontoon Surveys annually | 2024-05-31
Waterfront | SA1 - Prince of Wales Dock | Cantenary Chain Pull Test annually | 2024-12-10
Waterfront | SA1 - Prince of Wales Dock | River Tawe Chains & Ladder Inspection & Pull Test annually | 2024-12-09
Waterfront | SA1 - Prince of Wales Dock | Dock de-vegetations works annually | 2024-12-13
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-01-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-02-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-03-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-04-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-05-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-06-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-07-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-08-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-09-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-10-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-11-01
General | SA1 - All Common Areas | Nighttime Street Light Surveys monthly | 2024-12-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-01-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-02-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-03-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-04-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-05-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-06-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-07-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-08-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-09-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-10-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-11-01
General | SA1 - All Common Areas | Bins x 96 daily emptying | 2024-12-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-01-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-02-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-03-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-04-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-05-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-06-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-07-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-08-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-09-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-10-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-11-01
General | SA1 - All Common Areas | Litter picking Mon to Fri | 2024-12-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-01-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-02-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-03-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-04-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-05-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-06-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-07-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-08-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-09-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-10-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-11-01
General | SA1 - All Common Areas | Cut and maintain - Landscaping Common Areas monthly | 2024-12-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-01-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-02-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-03-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-04-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-05-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-06-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-07-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-08-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-09-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-10-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-11-01
Waterfront | SA1 - Prince of Wales Dock | Water Quality of Prince of Wales Dock -Testing monthly | 2024-12-01